## Slide 1: Southern Africa Energy PROGRAM (SAEP)
Battery storage STATE OF PLAY: TRACKING REGIONAL BESS PROJECTS
ENERGY STORAGE STANDARDS WORKSHOP
October 2021

## Slide 2: CONTENTS
Introduction to SAEP
Overview of BESS projects SAEP is tracking
Projects per country
  Malawi
  South Africa
  Namibia
  Zambia
Utility perspectives

## Slide 3: USAID Southern Africa energy program
Program Funding
The Southern Africa Energy Program is funded by the United States Agency for International Development (USAID), in support of the US Government’s Power Africa Initiative. To date, Power Africa’s more than 130 private and public sector partners have committed more than $52 billion to mobilize and organize international efforts to electrify Africa. USAID supports Power Africa through programs that bring together technical and legal experts, the private sector, and governments from around the world to work in partnership to increase the number of people with access to power.
The USAID Southern Africa Energy Program’s assists in the development of generation, transmission and distribution whilst promoting investment in the energy sector for a brighter, more sustainable future.
TARGET COUNTRIES Angola, Botswana, Lesotho, Madagascar, Malawi, Mozambique, Namibia, South Africa, Swaziland, Zambia
ACTIVITY DURATION March 2017 – March 2022
IMPLEMENTED BY Deloitte, with McKinsey, WorleyParsons, CrossBoundary, and Another Option
5
Years
10
REGIONAL PARTNERSHIP FOCUS SADC, SAPP, RERA, SACREEE
Implementing in collaboration with Power Africa Partners
Zimbabwe
Namibia
South Africa
Angola
Madagascar
Botswana
Zambia
Swaziland
Lesotho
Malawi
Mozambique

## Slide 4: SAEP OVERVIEW
Increase investment in electricity supply and access in Southern Africa by strengthening the regional enabling environment and facilitating transactions.
Objective
Generate 3000 MWs
Develop 1000 MW transmission capacity
Create 3 million new connections
Goals
Program Outcomes / task areas
  Outcome 1: Improved Regulation, Planning and Procurement for Energy
  Outcome 2: Improved Commercial Viability of Utilities
  Outcome 3: Improved Regional Harmonization and Cross-Border Trade
  Outcome 4: Scaled Renewable Energy (RE) and Energy Efficiency (EE)
Outcome 5: Increased Human and Institutional Capacity

## Slide 5
Namibia
Namibia
South Africa
Mozambique
Malawi
JCM Power bringing a 5MW, 10MWh Li-ion battery to the grid
This is part of their 20MW solar PV project
CENORED procuring alternative energy sources including BESS
Energy cost savings is the main aim
One EOI with prequalification was released in 2021
Another is being developed
ESKOM procuring EPC for BESS
Multiple locations across South Africa
Asset will be owned and run by the utility
No update since tender was released in May2021
An IPP in Mozambique has requested that SAEP assist it with an assessment for the inclusion of BESS at their solar PV plant
NamPower released an EPC tender for a BESS retrofit at the Omburu 20MW solar PV plant
Overview of BESS PROJECTS saep is tracking
Two PV and BESS plants planned for northern Zambia
COD in Q1 2022
Zambia

## Slide 6: Malawi: JCM Power (5mw, 10mwh) BESS UNDER CONSTRUCTION
JCM Power’s solar PV plus BESS plant will is scheduled to reach COD in the first quarter of the 2022 calendar year
No pre-defined use cases. The intention is that the BESS will help them smooth their ramp rates and extend the site’s availability in the evenings. They are also looking into an arbitrage case that involves grid charging
Specifications:
Solar PV: 20MWac
BESS: 5MW, 10MWh
Chemistry: Li-ion
20 year PPA
Plant designed primarily as a PV plant. BESS added afterwards when funds became available

## Slide 7: Malawi: JCM Power (5mw, 10mwh) BESS UNDER CONSTRUCTION
Supplied by JCM Power

## Slide 8: South africa: TENDER PUBLISHED FOR eskom (80mw, 320mwh)
South Africa’s state-owned utility released a request for bids, in May 2021, for the engineering, procurement and construction of BESS at multiple sites in South Africa
No set use cases. As part of the utility’s suite of assets, the BESS will be deployed according to a regime determined by the system operator in line with the operational requirements
Specifications:
BESS: 80MW, 320MWh
Chemistry: Unknown
Eskom to own and operate plant.
5 year O&M contract

## Slide 9: NAMIBIA: CENORED ISSUES EOI FOR PV PLUS BESS WITHIN EXCLUSIVE JURISDICTION (1/2)
CENORED, a regional electricity distributor in Namibia, issued an EOI and prequalification in May 2021 for energy from solar PV and BESS plants. This is enabled by the modified single buyer model (MSB) and SAEP support
Main use case is arbitrage. This is based on the support that SAEP provided to CENORED previously and their interest in reducing their bulk electricity costs in the face of tariff increases
Specifications:
Solar PV: 10MWac
BESS: 10MWh
Chemistry: Unspecified
IPP-owned and operated
10 – 20 year PPA

## Slide 10: NAMIBIA: CENORED ISSUES EOI FOR PV PLUS BESS WITHIN SHARED JURISDICTION (2/2)
CENORED, is also preparing to issue an EOI and prequalification for energy from solar PV and BESS plants for a shared service area. This is enabled by the modified single buyer model (MSB) and SAEP support
Main use case is arbitrage. This is based on the support that SAEP provided to CENORED previously and their interest in reducing their bulk electricity costs in the face of tariff increases
Specifications:
Under development
It is anticipated that the EOI will have specifications similar to the one that they released in May 2021

## Slide 11: NAMIBIA: NAMPOWER ISSUED AN EPC TENDER FOR A BESS
NAMPOWER issued a tender during quarter three of the 2021 calendar year for a BESS to be retrofitted to the Omburu solar PV plant
Main intention is to minimize grid impact and to extend plant availability (especially in support of peak demand)
Specifications:
Solar PV: 20MW
BESS: Unknown
BESS: Capacity unspecified
Chemistry: Unspecified
Utility-owned

## Slide 12: ZAMBIA: TWO pv and BESS PLANTS UNDER DEVELOPMENT IN ZAMBIA
An IPP in Zambia is developing solar PV plus BESS plants in Chipili and Mansa, north of Zambia. The projects are scheduled for construction and commissioning in quarter one of the 2022 calendar year
Use cases have not yet been declared. Early indications are that the BESS will provide some capacity firming and time-shifting, with the IPP looking to support the evening peak. It is also reasonable to assume that ZESCO will want the battery to provide some grid support services
Specifications:
Solar PV: 50MW
BESS: 20MW
Chemistry: Unknown
IPP-owned and operated 25 year PPA

## Slide 13: What utilities and rural electrification authorities are looking for
Grid support (esp. in the context of increasing variable renewable energy penetration)
  Optimal location and sizing of BESS for grid support
  Pairing of solar PV with BESS to minimize grid impacts
Peaking capacity
  Using BESS to supplement or replace more expensive peaking capacity
Energy cost savings
  Electricity resellers are looking at the arbitrage use case to protect themselves from rising TOU tariffs
Minimizing mini-grid back-up generator use/specification
Chemistry
  Move away from lead-acid to Li-ion

## Slide 14
Thank You