Chao Feng

Rockwell Automation

IEC Young Professionals Program

Challenges in the Functional Safety World

Functional safety is a relatively new topic in the field of industrial automation when compared to how long control systems have been around. Most safety functions rely on automated detection to put the control system into a safe state when a dangerous failure occurs. Due to rapidly evolving technology, there are thousands of sophisticated diagnostics implemented within advanced control systems, and it makes it easy to succumb to the pitfall of overestimating the performance of the safety system. The IEC began writing standards around functional safety in industrial automation in the mid-90s and rapidly expanded the requirements in the later revisions. Functional safety standards do a good job of forcing developers to examine their safety designs from different perspectives and eventually achieve an honest and truthful system that can prevent fatality and economic losses—but these standards still have their limitations.

One big problem in the functional safety community is failure to completely consider all the requirements when implementing a specific safety feature. I have encountered examples of engineers designing a SIL 3-rated system which lacks hardware fault tolerance, and seen FMEAs of a high SIL-rated modules which lack consideration of all the failure modes as required by the standard. The list goes on and on. The underlying cause of this problem is because the standards segregate requirements by design function (e.g. hardware, software, etc.) but functional safety problems are usually integrated, encompassing all aspects of the design. As a result, the engineer may not be aware of additional requirements not related to their specific discipline. The only way to combat this issue is to become more familiar with the standard, but there is little chance that an engineer will successfully consider every perspective in the standard at the first attempt. I have worked on three major functional safety projects and currently am working on the fourth, and every time I open the standard, I learn something new, even looking over the same sections I have read countless times before.

Another issue in functional safety is the overuse of mathematics to achieve the desired SIL rating. Consider what happens when the failure rate of a component in a design is found to be too high. Instead of considering other options, the common response is to go back to the component’s supplier and ask if they could provide improved FIT data for the component. Once the supplier can no longer lower the FIT rate, then the next step might be to analyze the component’s failure modes to hopefully find a specific failure mode that could be considered a safe failure to further lower the dangerous FIT rate. If that is still not enough, then perhaps Markov modeling could be used instead of the basic formulas for PFD/PFH in order to further squeeze every last FIT out of the calculation. However, does any of this really improve the safety integrity of the design? If the calculations show that the desired SIL rating is not met, changes to the architecture or the high-level design or additional, more comprehensive diagnostics should be considered instead of manipulating the math to achieve the desired SIL. Unfortunately, that is not always the case.

While the previously discussed issues are related to the requirements for functional safety designs, an equally important topic is the application of the required safety design processes. It is not those designers do not want to implement the processes outlined in the standards, but rather that there are so many processes, which makes it difficult to consider every minute detail. However, for functional safety systems, especially those in the process industry, the devil is in the details. There are many technical reports attached to the standards that illustrate how disaster can begin with a simple mistake. A potential solution to this problem is to automate the safety design lifecycle. Some commercially available tools already exist on the market, such as V-model, which guides the developer from specification to validation, or CILcet, which performs calculations for PFD/PFH and SIL ratings. However, when it comes to a comprehensive project, the existing tools on the market are inadequate—not only because they are not able to handle the complicated requirements involved in safety projects, but also because the tools are only applicable to specific stages of the lifecycle, which makes it difficult to apply them at the project level. The reality is that a lot of manual tasks are still needed for functional safety, but one of my career goals is to automate the processes as best as I can.

Functional safety is a broad subject which involves management, hardware, software, integration, implementation, and maintenance. It also requires a rich knowledge of most electrical-engineering topics and a deep understanding of the standards to ensure that the safety system effectively guards human life and property. The IEC standards already provide good requirements for functional safety systems, but much can still be done to improve the guidance on the application and implementation of those requirements.