## Slide 1
A Standards Approach to Increasing Availability & Reliability
For Smart Cities
Presented by:
Siddharth Jain
Managing Director

## Slide 2
EPI
who is

## Slide 3: EPI • History & global locations
UK origin, 1987
Singapore office, 1999
9 EPI offices worldwide
Global partner network spanning 65+ countries, 130+ cities

## Slide 4: EPI is a Data Centre Expert company
EPI offers an extensive range of expert data centre services
We do evaluation and validation of data centre plans to make sure they are designed to meet the business requirements or industry standards
We do data centre audits and certifications to the standards in the industry
We offer customized consultancy for data centers and mission critical sites (SOC, NOC, etc)
We design and write data centre training programs from our hands-on experience
Design Evaluation and Validation
Audits and Certification
ProfessionalConsulting & Training

## Slide 5: Some of Our Customers They trust us, So can you!

## Slide 6
Facilities
Data Centre
Standards

## Slide 7: The 5G Architecture
Lowering Latency – Imperative for Smart Cities

## Slide 8: The Core Site

## Slide 9: Importance of Standards at all levels
Standards assist in creating a verifiable quality framework
At the Edge the redundancy can be based on overlapping cells, etc
At the Core Data Center it’s a combination of In-building and ICT redundancy
Many data centres make claims about their data centre facility. BUT how to prove it…
  World-Class, 5-Star, Class-A, Grade-A
Incorrect claims on Tier/Rating levels (1 – 4)
Smart Cities are in need to have certification to set the right expectations in terms of availability, capability and capacity as part of their risk management strategy and to ensure the highest availability for their Mission Critical Applications.

## Slide 10: The Adoption of ANSI/TIA-942 Standard
A global survey indicated that 78% of the respondents use the ANSI/TIA-942 as the standard of choice when designing and building their data centres
LinkedIn survey data centre professionals

## Slide 11: Overview - ANSI/TIA-942
 | TIA-942
Origin | USA
Main scope of Topology Guideline or Standard | Electrical Mechanical Architectural Telecom Site location Safety Security Efficiency
Type of Conformity | Rated (1 – 4)
Detailed Spec public. avail. | Yes (Standard document)

## Slide 12: Overview- ANSI/TIA-942
 | TIA-942
Type of organisation | Non-profit
Official Standard Development Organisation | Yes ANSI
Certified data centres | Yes
Auditors | Multiple organisations

## Slide 13: Latest version: ANSI/TIA-942-B (July 2017)
The Rating levels are fully aligned with industry outcome based descriptions
  Concurrently Maintainable for Electrical, Mechanical and Telecommunications, etc (Rated-3)
  Fault Tolerant for Electrical, Mechanical and Telecommunications, etc (Rared-4)
Latest technology developments taken into consideration
  New fire suppression systems, network technologies and architectures, power systems and mechanical systems

## Slide 14: Certification for ANSI/TIA-942
Data centres can be certified for ANSI/TIA-942

## Slide 15
Scope of the ANSI/TIA-942

## Slide 16: Architectural
Site selection
Parking
Multi-tenant occupancy within building
Building construction & Building components
Roofing, Doors and windows
Entry lobby, Administrative offices, Security offices, Restrooms and break room areas
Operations Center, UPS and battery rooms
Required exit corridors
Shipping and receiving areas (Holding areas)
Generator and fuel storage areas
Structural

## Slide 17: Telecommunications / Network
General
Redundancy
  Entrance Rooms, MDAs, IDAs, etc
Diversity
  Access Provider entrances and Maintenance Holes
Cabling
  Backbone Cabling and pathways, Horizontal Cabling and pathways.
Labelling
  In Conformity to the TIA-606-B Standard

## Slide 18: Electrical
General
Utility entrance
Main Utility Switch Boards
UPS, ATS, STS
Grounding
SPD/TVSS
Emergency Power Off systems
System Monitoring
Battery configuration and types
Standby generating systems
Load-bank testing
Equipment maintenance
Labelling

## Slide 19: Mechanical
General
Water-cooled systems
Heat rejection
Chilled water system
Heat rejection
Air-cooled system
HVAC/CRAC control system
Plumbing (for water-cooled rejection)
Fuel oil tanks
Fire suppression

## Slide 20: Sub Categories
Fire Protection
  Detection Systems
  Prevention Systems
Physical Security
  Access Control
  CCTV
Documentation
  Service contracts
  Service structure
  Pro-active maintenance
Maintenance
  Regulatory documents
  Document management policy and system
  Drawing review

## Slide 21: Individual Quality of Products and Service, Good Enough?
Individually all top-notch products & services…

## Slide 22: Individual Quality of Products and Service, Good Enough?
What if all these individually top-notch services were not fully integrated…

## Slide 23: Individual Quality of Service Good Enough?
Do you see the similarity…
What if there was no coordination….

## Slide 24: Summary
Its important to not only select Top Notch Equipment and Systems individually but also to ensure proper coordination
To ensure that everything works together in harmony the Standard needs to be followed completely to realise the Availability and Reliability expectations of the proposed Data Centers.

## Slide 25
A
Q

## Slide 26
www.epi-india.in
sjain@epi-india.in