## Slide 1
Virtual Workshop on Clean Energy: Advancing Growth of Photovoltaic Development in India
Session 3
Investments in Utility and Distributed Generation PV Projects in India: Challenges and Opportunities
October 6, 2020

## Slide 2
Opening Remarks
United States Trade and Development Agency (USTDA)
Tanvi Madhusudanan, Country Manager, Indo-Pacific
U.S. Department of Commerce (DoC)
Aileen Nandi, Senior Commercial Officer, India
Bureau of Indian Standards (BIS)
Jayanta Roy Chowdhury, Deputy Director General— Standardization (Products and Methods)

## Slide 3
 | Challenges & Opportunities in Indian Solar Projects
Dinesh Kumar, PhD (Physics)
SB Energy Pvt Ltd (Soft Bank Group)
New Delhi, India

## Slide 4
Agenda
Indian PV Market – Size & Growth
Tariff Trend
Challenges
Opportunities

## Slide 5
SB Energy Pvt Ltd
Renewable Projects in India and USA
1.4GWp Operational Projects in India
USA – Texas & California (1.7GWp Cumulative)
India: 3GWp under construction
Leading innovation promoter @ utility scale projects with 3MWp innovation Centre
Indian Projects: robot based automated module cleaning
Focus – Hybrid Projects, Renewable Energy Projects with Energy Storage

## Slide 6
Indian PV Market- Size & Growth
India: Renewable Energy Target – 175GWp by 2022
Solar Projects trailing behind targets
Source: MNRE / MERCOM India/ Public Web Resources

## Slide 7
Indian PV Market- Size & Growth
Solar Projects are trailing behind targets
Roof Top Projects are primarily driven by C&I Segment followed by Govt. Captive Consumption Requirements
2022 target for utility scale projects seems to be difficult to achieve.
Still 63 GWp need to be installed
Source: MNRE / MERCOM India/ Public Web Resources

## Slide 8
Indian PV Market- Size & Growth
Quarterly installations does not indicate or provide trend to achieve the targets
Source: MNRE / MERCOM India/ Public Web Resources

## Slide 9
Indian PV Market- Tariff Trend
India known for aggressive tariffs and driver of cost reduction
3.14 $cent/kWh

## Slide 10
Indian PV Market- Conclusion
Trailing behind targets
Will result in many – may GWp for bidding
Low Cost – Grid Parity / Fossil Fuel based energy generation
Indicates – opportunities for Solar PV sector in near future

## Slide 11
If we are going to see many-many GWp for bidding & Prices are attractive –
Then what are the challenges ?

## Slide 12
Challenges for Indian Solar Developers
Bid Price & Project Viability –
  Land (Location)
  Power Evacuation Infra
  Project Timelines
  Project Cost including Module Cost & Technology
  Land Aggregation
  Operational Challenges & Cost
  Project Life (Reliability, Durability)
  Annual Energy Yield, Module Performance, Reliability & Degradation

## Slide 13
Indian PV Market- Challenges (Operational Issues)
Poor Asset Management Practices – affecting Reliability of System Components

## Slide 14
Indian PV Market- Challenges
Proper asset management leads to rise in operation cost of project

## Slide 15
Indian PV Market- Challenges (Reliability)
Frequent Module Issues & Failures leading to Energy Loss
Cost Pressure – Quality Compromise in Indian Projects

## Slide 16
Indian PV Market- Challenges (Reliability)
Low Project Cost – Challenges in Module Quality / BOM Quality

## Slide 17
Indian PV Market- Challenges (Reliability)
Low Project Cost – Challenges in Module Quality / BOM Quality

## Slide 18
Indian PV Market- Challenges
Construction Quality

## Slide 19
Indian PV Market- Challenges (Operational)
Module Cleaning
Water Quality & Availability
Quality of Cleaning / method etc

## Slide 20
Indian PV Market- Opportunities for Developers
Matured, Stable & Consistent Market – Long Term
Geography most suitable for Solar Projects, Availability of Land
Regulatory Norms & Guidelines – lessons learnt
Low Cost Structure – is perfect for Energy Storage Projects and early viability of the same
Automation: Module Cleaning , Asset management , Drone Survey/thermography
Asset management – onsite testing and data analysis (Mobile Test Labs)
Advance data analytics / Machine Learning
Short Term: Hybrid Projects
Mid Terms: Energy Storage

## Slide 21
SB Energy- Leading in use of innovative means for O&M

## Slide 22
Conclusions
India Trailing in committed renewable targets especially Solar PV
Coming years will see many projects available for bidding
Challenges for developers – cost, timelines, quality ( construction & components) & asset managements
Opportunities for adopting energy storage, long terms projects pipelines, innovative means for O&M
Dedication & Commitment turns challenges in opportunity – true for Indian Solar Projects

## Slide 23
Create Sustainable and Efficient Green Energy
Innovation and Optimization in Design Engineering and Installation
Prasanta Kumar Patra
To be the leading provider of intelligent energy solutions
Notes: 23

## Slide 24
Overview
Founded in :2006
Capacity :5GW
Employees :4000+

## Slide 25
Current Mass Production
PERC +

## Slide 26
New Product Series

## Slide 27
P- Mono Product Roadmap

## Slide 28
N - Mono Product Roadmap

## Slide 29
Emerging Trends in Solar Energy Technologies
SOLAR SYSTEM
PV MODULE
DC & AC SYSTEM
MECHANICAL & CIVIL
MONITORING &
COMMUNICATION
Cheaper
Capex & Opex
Faster
Erection & Commissioning
Better
Safe & Reliable

## Slide 30
Solar Photovoltaic
Utility Grid Connected PV
Utility Grid Connected PV with Battery
Utility Grid Connected PV floating solar
ON / Off Grid PV for
Residential, Commercial & Industry
Micro GRID
Solar Pump

## Slide 31
PV Cell Developments
Commercial Cell
PERC
Mono-crystalline
HJT
Commercial PV Panel
Poly-crystalline
Light Capturing
Mono-facial
Bi-facial
Cell Efficiency
47.1%

## Slide 32
Technology Developments in DC & AC System
PV Inverter
Central Inverter with high capacity
Outdoor Inverter with IP65
Central Distributed Inverter
Energy Storage Inverter
String Inverter with Multi MPPT
Micro Inverter
PV AC System
Multi- winding Transformer
IoT Transformer
Smart GRID
Integrating Energy Storage System
PV DC System
Shifting from 1000V to 1500V
Intelligent Combiner Box
String level MPPT
Advance Automated Design Tools
Reflectors to improve the generation of module

## Slide 33
Technology Developments in Mechanical & Civil
Fast Module Mounting
Snap fit Clips
Hook mounting
Faster Civil foundation – Extrusion method
Low tonnage Structure
FRP Structure
Floater
3D Construction Control Room
Prefab Rooms
Ramming Pile foundation
SKID/ KIT Inverter Solution
Robotic Cleaning Docking System
Advance tracking to reduce shading

## Slide 34
Technology Developments in Monitoring & Communication
Module Cleaning
Security & Surveillance
Asset Management Monitoring
Contour Mapping
Project Progress Monitoring
Thermal Imaging
Remote Operation Centre
Performance Analysis using ML & AI
Live Plant monitoring
IoT based SCADA
AR & VR Construction & Maintenance
LoRa, ZigBee Wireless Communication

## Slide 35
Thank You for your Kind Attention
Contact : prasanta@astronergy.com

## Slide 36
By: Saravanan Manoharan
GM – Design & Engineering
Ayana Renewable Power Private Ltd.
Date: 06.10.2020
Effective
Operation & Maintenance – Technology and Data

## Slide 37
Effective O&M is measured by
Lowest LCOE is the requirement
Extended useful life of assets
Reduce the cost of O&M
Improve performance
Productivity(Solar farm)= Fn. (Irradiation, Module Performance, operations)
Operations : Controllable (Use of Data , Technology , Predictive Maintenance)
Module Performance : Long term (Manufacturing, Quality Control, Working conditions)
Irradiation : Uncontrolled (By Nature Sun availability and intensity is uncertain)
Need of effective O&M
Climate Change (Irradiation Variability)
Reduced margins ( Increased lending rates, stiff tariff regime, Volatility of currency)
Suitability of technologies to site specific operating conditions
Grid integration challenges
Effective O&M- Why we need? ( Technology adoption)

## Slide 38
  Being in control:
  Forecast outages
  Minimize the deviations forecast v/s actual (no Surprises)
  Bundling of activities (Scheduled , unscheduled, Inputs of predicts, inputs of trending's)
  Focus areas:
  Moving from time based to data based - Maintenance
  Common drivers - O&M service provider, Owner
  BOP to adopt technological advancement - Thermography, Online DGA, Farm control
  Construction & manufacturing quality to cater serviceability - life cycle
Effective O&M - Approach
Degree of Control:
“If you cannot forecast it, you have NO control of it….”
The degree of variation between the forecast and the actual performance is the degree of control that exists at the time of the forecast….

## Slide 39
Adoption of technology
  Robotic cleaning
  Drone Inspections
  Mechanised seasonal tilt
Continuous monitoring and control-
  IoT- reduced cost of capex
  Development of AI to replace hardware
  Optimised level of monitoring
  Action driven outlier detection
Data driven O&M
  Predictive maintenance
  Prescriptive diagnostics
  Forecasting based maintenance
Equipment life cycle management
  Long term service agreements with OEM
  Increased useful life – certified life extension
Effective O&M- Modern Concept
Owners are under increasing pressure to achieve lowest LCOE

## Slide 40
Effective O&M- Identify controllable opportunities
Chart: Production balancing
| Taraget | PR | Irradiation | Availability | Actual
 | 27254.3634 | 26333.3111 | 26293.6547 | 26293.6547 | 26144.8868
 | 921.0523 | 39.6564 | 148.7679
Binning of losses - Lost production opportunity
  Bifurcation of controllable and uncontrollable losses
  Do pareto analysis
  Control big contributors
  Repeat above steps
Feedback to Engineering
  Feedback to improve design
  Adoption of new technologies
  Capex provision during O&M
  Test platform for decision making
Repowering
  Use high capacity modules
  Replacement of outdated products
Forecasting and Scheduling
  Use of technology to improve accuracy - Cloud monitoring
Use of Storage – Battery , Gravity based
  Round the clock supply
  Improved reliability to meet scheduled power

## Slide 42: IEEE 1547 – The DER Interconnection Standard
Jason ALlnutt
U.S.-India SCCP, Virtual Workshop on Clean Energy: Advancing Growth of Photovoltaic Development in India
6 October 2020

## Slide 43: The Institute of Electrical and Electronics Engineers
Members - >374,00
Countries - > 160
Conferences – 1200 + a year
30% of the world’s electro-technical publications
1,300 Active Standards – 500 additional projects
MAC Address Registration Authority
80:7B:85:FE:10:95

## Slide 44: Ieee 1547 – 2003
Published – 28 July 2003
Scope – This standard establishes criteria and requirements for interconnection of distributed resources (DR) with electric power systems.
The original expectation was DER penetration would remain low as compared to today’s numbers.
Commitment to the standard being universally adoptable and technology neutral
No communication specifications
10 MVA limits on DER size
27 Pages (only 16 of which are actual technical content)

## Slide 45: Energy Policy Act – 2005
Public Law 109-58-Aug. 8, 2005
Sec. 1254. Interconnection
Adoption of Standards. – Section 111(d) of the Public Utility Regulatory Policies Act of 1978 (16 U.S.C. 2621(d)) is amended by adding at the end the following”
  “(15) Interconnection. – Each electric utility shall make available, upon request, interconnection service to any electric consumer that the electric utility serves. For purposes of this paragraph, the term ‘interconnection service’ means service to an electric consumer under which an on-site generating facility on the consumer’s premises shall be connected to the local distribution facilities. Interconnection services shall be offered based upon the standards developed by the Institute of Electrical and Electronics Engineers: IEEE Standard 1547 for Interconnection Distributed Resources with Electric Power Systems, as they may be amended from time to time. In addition, agreements and procedures shall be established whereby the services are offered shall promote current best practices of interconnection for distributed generation, including but not limited to practices stipulated in model codes adopted by associations of state regulator agencies. All such agreements and procedures shall be just and reasonable, and not unduly discriminatory or preferential.”.

## Slide 46: Evolution of the Grid
New Challenges
  New energy technologies and services
  Penetration of variable renewables in grid
  New communications and controls (e.g., Smart Grids)
  Electrification of transportation
  Integration of distributed energy storage
  Regulatory advances
Current Power System
Future Power Systems
Large generation systems
Central control
Highly regulated
DRIVERS
Increased variable generation
More bi-directional flow at distribution level
Increased number of smart/active devices

## Slide 47: IEEE 1547-2018 Scope and Purpose
Published – 6 April 2018
Title: Standard for Interconnection and Interoperability of Distributed Energy Resources with Associated Electric Power Systems Interfaces
Scope: This standard establishes criteria and requirements for interconnection of distributed energy resources (DER) with electric power systems (EPS), and associated interfaces.
Purpose: This document provides a uniform standard for the interconnection and interoperability of distributed energy resources (DER) with electric power systems (EPS). It provides requirements relevant to the interconnection and interoperability performance, operation, and testing, and, safety, maintenance and security considerations.
Changes from IEEE 1547-2003 shown in red

## Slide 48: Important Changes in focus and Coverage
IEEE Std 1547-2003
Focused only on distribution system
Specifications for the “interconnection system” sufficiently achieve the standard’s objective.
Meant as DER interconnection standard but mainly used for equipment listing.
Limited to electrical requirements.
Area EPS
Interconnection System
Scope of IEEE 1547-2003
DER unit
IEEE 1547-2018
Focused on distribution and bulk system
Specifications encompass the whole DER
Equipment listing as well as plant-level verification.
Includes both electrical as well as interoperability/communications requirements.
Area EPS
Communication Interface
Power Interface
Scope of IEEE 1547-2018
DER

## Slide 49: Definition of Distributed Energy Resource
In the context of IEEE 1547:
“A source of electric power that is not directly connected to a bulk power system.”
  Includes distributed generators.
  Includes distributed energy storage technologies.
  Does not include controllable loads used for demand response.

## Slide 50: IEEE 1547 Evolution of Grid Support Functions
IEEE 1547-2003
IEEE 1547a-2014
(Amendment 1)
IEEE 1547-2018
Shall NOT actively regulate voltage
Shall trip on abnormal voltage/frequency
May actively regulate voltage
May ride through abnormal voltage/frequency
May provide frequency response1 (frequency-droop)
Shall be capable of actively regulating voltage
Shall ride through abnormal voltage/frequency
Shall be capable of frequency response2
May provide inertial response3
1Frequency response is capability to modulate power output as a function of frequency
2Mandatory capability for Categories II and III under high frequency conditions, Mandatory for Categories II and III under low frequency conditions, optional for Category I
3Inertial response is capability for DER to modulate active power in proportion to the rate of change of frequency

## Slide 51: Assignment of Performance Categories
Normal and abnormal operating performance categories
Category A
Category I
Category II
Category B
Category III
Ride-Through
Voltage Regulation
Authorities Governing Interconnection Requirements (AGIRs)1
DER Vendors
  Market Analysis
  Costs
  Market segment
  Etc.
Control / trip settings
Ranges of allowable settings
Default parameters
  Stakeholder Engagement
  Distribution utilities.
  Bulk system operators & planners.
  DER developers.
  Others.
1 Regulatory agencies, public utility commissions, municipalities, cooperative governing boards, etc.
  Impact Assessment
  Technical conditions: type & capacity & future penetration of DER, type of grid configuration, etc.
  Non-technical issues: DER use case, impacts on environment, emissions, and sustainability, etc.
Courtesy of Dr. J. Boemer/EPRI

## Slide 52: Interoperability
Categories of Information to be Exchanged
Nameplate Data – As-built characteristics of the DER, e.g.:
    Manufacturer/model
    Active and reactive power rating, etc.
Configuration Information – alternative nameplate ratings
Monitoring Information – Measured values of:
    Active and reactive power
    Voltage, etc.
Management information – update functional and mode settings for the DER.
List of Eligible Protocols

## Slide 53: IEEE 1547.1-2020 – 1547 Test Procedures – Test & Verification Process
Type Tests
Test in laboratory or factory of a representative DER unit
Design Evaluation
Interconnection review
Equipment conformance
testing
As-Built Installation Evaluation
Post-installation review
Production Tests
Commissioning Tests
Periodic
Maintenance
Test of every unit, usually in factory
Desk study prior to installation
Confirm DER is installed as designed
Confirm DER functionality and interoperability on site
In-service confirmation on recurring schedule

## Slide 54: ICAP - IEEE 1547 Education and Credentialing Program
Comprehensive 1547 educational content and platform
    Focus on IEEE 1547-2018 commissioning details
    Inclusion of common jurisdictional requirements to assist with understanding different interconnection agreement
Certification mechanism for individuals as Certified IEEE 1547 Commissioning Agents
    Expectation for certified agents to be third-party resource for the complete commissioning of DER Interconnections to IEEE 1547 and local interconnection agreement requirements
Standardized IEEE 1547 Commissioning Process
    Standardized documentation for pre-visit, on-site, and final report generation
    Guidance and documentation of periodic assessment (i.e., future reviews of DER Interconnection after the initial)
    To be taught during educational content so that all certified agents have the same foundation of commissioning
Create a credentialing program that will evaluate and train and certify individuals who can verify any installed DER Interconnection (e.g., Residential, Utility-Scale, Micro-grid, etc.) for its compliance with the IEEE 1547-2018 standard and local jurisdictional requirements.

## Slide 55: Ghana Pilot - 20 MW Solar Installation
Utility scale 20 MW Solar PV Installation with approx. 400 string inverters
Commissioning of the interconnection for its compliance with IEEE 1547 in accordance with the approved Ghana Interconnection Agreement
On-site evaluation showed that IEEE 1547 test requirements met at inverters as well as facility wide at the PCC.
On-site inspections identified some grounding issues.

## Slide 56: Thank you
Jason Allnutt
Conformity Assessment Speicalist
IEEE Standards Association
J.Allnutt@ieee.org
https://standards.ieee.org/icap
https://www.linkedin.com/in/jason-allnutt-ee/

## Slide 57: LVDC: Powering the Last Mile – Challenges and Opportunities
Venkat Rajaraman
CEO, Cygni Energy
E: venkat@cygni.com

## Slide 58: Energy is the is the golden thread that connects economic growth, increased social equity, and an environment that allows the world to thrive’ Ban Ki-moon, Former United Nations Secretary-General
© The Energy Resource Institute
Energy is opportunity. It transforms lives. Economies. And our planet.

## Slide 59
Ensure access to affordable, reliable and modern energy for all by 2030
Notes: Company Overview – Mr. Venkat Rajaraman

## Slide 60
Notes: Company Overview – Mr. Venkat Rajaraman

## Slide 61
Why LVDC?
and Why now?
Why Now?
Devices: LED lighting, IT and multimedia, consumer appliances
Sources:PV Panels, Energy storage
Electricity Access
Cost down
Energy efficiency up
Cost down
UN SDGs and regulations creating a market
Notes: Company Overview – Mr. Venkat Rajaraman

## Slide 62: All the things we and run on LVDC
We already live in a DC World!
Notes: Company Overview – Mr. Venkat Rajaraman

## Slide 63
Energy Efficiency in Developed Economies
Electricity Access in Developing Economies
Two main market drivers
Notes: Company Overview – Mr. Venkat Rajaraman

## Slide 64: New Standard for LVDC
Standard – IS16711:2017
A standard for India, developed by BIS
Several thousand installations have been already done based on this standard
Proven rules for creating solutions at optimal cost
Standard ensures maintainability, repair and availability of spares
Uptake of distributed renewables. Much bigger opportunity in the developing world
Choice of Voltage
48V, Primary Voltage as defined in IEC 60038
Is safe – Falls under SELV System Classification and SELV circuit classification as per IEC 60950
Optimal voltage considering safety and distribution
Leverage EV battery eco-system and automotive battery eco-system for storage
DC-DC chips available with synchronous capabilities that operate beyond 48V

## Slide 65: Electricity Access – Priority and Considerations
Priority
Define a basic architecture for fast and immediate access to electricity
Safety, considering first time users of electricity
Scalability – Energy Sharing, DC/AC Microgrids, AC Grid
Standardise rules when AC Grid eventually gets connected
Uptake of distributed renewables. Much bigger opportunity in the developing world
Considerations
First Time users with no prior exposure to electricity and its potential for hazard to human life
Minimum requirement to power few lights, fans and mobile chargers, sources and storage
Leverage existing AC components, interconnects, electrical interfaces that are locally available as much as possible to reduce costs
Distribution to be standardised for low losses.
Provide a platform for funding renewable energy projects

## Slide 66: Some Specifics of the Standard
Specifics
48V Bus Voltage Nominal
5A max. per circuit
No limit to number of circuits
Distribution topology similar to AC distribution
AC wiring conductors of 1.5sq.mm, 2.5sq.mm or 4 sq.mm can be used depending on the length. AC over-current devices can be used
Co-existence with AC, through an isolating interface
Safety
Safe from single fault
Safety from Electric Shock – SELV, floating outputs
Safety from fire – due to arcing - only 5A in each circuit limits energy and does not allow arc to propagate
Safety from fire – due to over current – limited by the finite power capability of the converter at the front end
Safety from 230V shock during interoperability – RCD trips at the AC side
Safety from fire and heat due to high instantaneous power from battery – Battery outputs to have over current protection

## Slide 67: LVDC Installations in India Over 45,000 installations in the States of Assam, Rajasthan, Manipur, J&K and Meghalaya
Notes: Company Overview – Mr. Venkat Rajaraman

## Slide 68: Village School with LVDC System
Notes: Company Overview – Mr. Venkat Rajaraman

## Slide 69: Last Mile Challenges
Material transport by ferry to reach villages on other side of river
Multiple trips needed for heavier items such as battery packs & solar panels
Exercise due care & caution so that the material is not wet during transport

## Slide 70: Last Mile Challenges – Precarious Roads and water logging

## Slide 71: Last Mile Challenges – No motorable roads
Notes: No motor-able roads
Material transport must be done by smaller cargo vehicles & require multiple trips
Vehicles get stuck on bad roads and during rains

## Slide 72: Last Mile Challenges – Transport by boat

## Slide 73: Last Mile Challenges – Assam - Unpaved Roads

## Slide 74: Last Mile Challenges - Manipur – Foot Journey

## Slide 75: Last Mile – Manipur – Foot Journey

## Slide 76: Recognition
Innovative Direct-Current Microgrids to Solve India’s Power Woes -Solar DC micro-grids could do for electrification what mobile phones did for telephony
https://spectrum.ieee.org/energy/renewables/innovative-direct-current-microgrids-to-solve-indias-power-woes
Solar DC Microgrid for Indian Homes –A transforming power scenario [IEEE]. Solar DC has won the IEEE Spectrum Award for technology in 2017

## Slide 77
CONTACT US
THANK YOU
Head Office ( Hyderabad, India )
Second Floor, Lansum House, 283, Rd Number 78, Jubilee Hills, Telangana 500033
++91 40 2354 5001
venkat@cygni.com
info@cygni.com
www.cygni.com

## Slide 78
Panel Discussion
How can standards and conformity assessment help to address some of the challenges that have been identified?
National Renewable Energy Laboratory (NREL)
Ingrid Repins, Principal Scientist (Ingrid.repins@nrel.gov)
Underwriters Laboratories (UL)
Scott Jezwinski, Business Development Manager, Renewable Energy-Solar (scott.Jezwinski@ul.com)
Indian Institute of Technology (IIT) Bombay
Narendra Shiradkar, PhD, Assistant Professor and Lead, PV Reliability Group (naren@ee.iitb.ac.in)

## Slide 79: The IECRE (RE = Renewable Energy) Certification System
Design Qualification
Commissioning
Annual Performance
Asset Transfer
Project Timeline
Provides confidence in PV system quality at each stage of PV system life
Over 30 standards and operational documents were created or revised by international teams of experts, starting in 2014, to enable IECRE certifications for PV.
✓
✓
✓
✓

## Slide 80
Thank you!
Please complete the Post-Workshop Questionnaire that will be distributed shortly after this session