## Slide 1: The National Voluntary Laboratory Accreditation Program (NVLAP)
December 3, 2015

## Slide 2: Presentation overview
Laboratory Accreditation
Information About NVLAP
International Accreditation Organizations

## Slide 3: What is Laboratory Accreditation?
Independent, third party assessment of laboratory technical competence
Based on an international standard (ISO/IEC 17025)
Conducted by peer technical experts for a specific Scope of Accreditation
Results in formal recognition by an authoritative body

## Slide 4: General Accreditation Requirements
Technical competence
  Validated test methods/calibration procedures
  Appropriate, traceably-calibrated equipment
  Proficiency testing
  Demonstrated through on-site assessment
Documented management system
  Quality manual, policies, procedures, instructions
  Records
  Customer focus

## Slide 5: What to expect from an accredited laboratory
Technical competence
Trained, experienced staff using validated methods on the Scope of Accreditation
Results reported in accordance with requirements
Accountability
Contract review to clearly identify scope and objectives of work
System for handling feedback and complaints
If laboratory’s system fails to address any concerns, can come to accreditation body

## Slide 6: What is NVLAP ?
NVLAP is not:
NVLAP is:
A federal program for accrediting laboratories found competent to perform specific tests or calibrations
Internationally peer evaluated and recognized
  A certifier of test data or products
  An accreditor of certification bodies
  Itself accredited or certified

## Slide 7: Facts
Fully fee-supported program established in 1976
Procedures in U.S. Code of Federal Regulations
Operates in accordance with ISO/IEC standards
  ISO/IEC 17025 (for laboratories)
  ISO/IEC 17011 (for accrediting bodies)
Accreditation is voluntary and available to any qualifying laboratory

## Slide 8: within
NIST Laboratories provide:
NVLAP is a part of NIST
  National Institute of Standards and Technology (NIST), an agency of the U.S. Department of Commerce (DOC)
  Within the Standards Coordination Office
  NVLAP benefits from NIST’s measurement science and engagement with federal agencies and industry
  NVLAP ensures independence of the accreditation process
  Technical guidance and input
  NIST expert-level assessors
  Proficiency testing

## Slide 9
~800 laboratories accredited
Energy Efficient Lighting Products
~ 62 labs
Calibration
~ 116 labs
Acoustical Testing Services
~ 27 labs
Asbestos Fiber Analysis
~ 250 labs
Biometrics Testing
1 lab
Carpet and Carpet Cushion
9 labs
Common Criteria Testing
~ 8 labs
Construction Materials
~ 17 labs
Cryptographic and Security Testing
~ 21 labs
Efficiency of Electric Motors
~ 16 labs
Fasteners and Metals
~ 13 labs
Healthcare Information Technology
5 labs
Ionizing Radiation Dosimetry
~17 labs
Personal Body Armor
6 labs
Radiation Detection Instruments
3 labs
Thermal Insulation Materials
7 labs
Voting System Testing
3 labs
Wood-Based Products
1 lab
EMC and Telecom
~ 140 labs

## Slide 10: Developing a nvlap Laboratory Accreditation Program
Receive specific request for new program
Seek balanced expert advice (for example, public workshops)
Announce establishment of a new program in the Federal Register
Develop program-specific documentation
Expand program if needs evolve

## Slide 11: International Recognition of Accreditation Bodies
Laboratory accreditation bodies can demonstrate competence via recognition by an international accreditation cooperation
Based on peer evaluations against ISO/IEC 17011
ABs that successfully complete the evaluation process sign the associated Recognition Arrangement
  8 total ABs in the US
  86 ABs in 71 economies
Signatories’ accreditations are considered to provide equivalent outcomes with respect to those requirements

## Slide 12: International Recognition of us-based Accreditation Bodies
  ILAC
  International Laboratory Accreditation Cooperation www.ilac.org
  APLAC Asia Pacific Laboratory Accreditation Cooperation www.aplac.org
  IAAC InterAmerican Accreditation Cooperation www.iaac.org.mx
8 Recognized ABs in US
A2LA
AIHA-LAP
ANAB
NVLAP
ASB
IAS
PJLA
ASCLD-LAB
  EA European co-operation for Accreditation www.european-accreditation.org

## Slide 13: Contact information
www.nist.gov/nvlap
Dana S. Leaman
Acting Chief, NVLAP
301 975 4679
Dana.leaman@nist.gov